How to Keep PLC in Remote mode for Online Programming?

Press ESC.

Press Down key and select Mode switch.

Press OK.

Select Remote and Press OK.