## Slide 1: Welcome to the training
Major components in Chambers

## Slide 2
First we will start with learning about the components.
Most commonly used components in chamber are as follows:-

## Slide 3
PLC.
HMI.
Analog card/RS 485 module.
Transmitters for PT100 sensors.
Sensor card for Temp/RH sensors.
Relays , SSR & contactors.
Dry heater.
Boiler heater & Ecotronic humidifiers.
Compressors.
Door sensor, water level switch.
Float valve , solenoid water inlet valve.
Sensors(temperature and humidity )

## Slide 4: PLC

## Slide 5: Nomenclature at control panels
Nomenclature | Actual meaning
DH | Dry heater
BH | Boiler heater
CO | compressor
CM | Circulation motor
HT | High thermostat
LT | Low thermostat
SV | Solenoid valve
VP | Vacuum pump
L | Line/live supply
N | neutral
E | earthing
TL | Tube lights
UV | Ultraviolet lights

## Slide 6: HMI

## Slide 7: Analog card RS 485 module
AB
AB
Siemens
Schneider

## Slide 8: Transmitters
0 to 10 volts
4 to 20 mAmps

## Slide 9: Sensor card for Temp/RH sensors.

## Slide 10: Relays , SSR & contactors.

## Slide 11: Dry heater.

## Slide 12: Boiler heater.

## Slide 13: Compressors.

## Slide 14: Door sensor, water level switch.

## Slide 15: Float valve , solenoid water inlet valve.

## Slide 16: Sensors(temperature and humidity )